- The Hunter Eco-Indicator is a tool used to indicate when a drip irrigation system is active and irrigating.  The stem and nozzle cap of the Eco-Indicator will extend upward when the system is running with at least 12 psi (.83 bar, 83 kPa) of pressure.  The riser is 6 inches (15 cm) in height and is made with a highly visible bright yellow color while all other parts are black.  The cap matches the color of the stem but emits no water.  All parts are made of ABS plastic.  The inlet for the Eco-Indicator is ½” FPT and may be connected to the system with any standard ½” MPT connector. Operating pressure is 12-60 psi (.83 to 4.1 bar, 83 to 414).

- Available Models:

- ECO-ID

- Eco-Indicator carries a 2-year warranty.