The valve shall be a normally closed, electronically-actuated, diaphragm-operated, remote-control valve. The valve will be capable of operating between___________and_____________PSI (bars; kPa) with a flow range of between          ________and________GPM (m3/hr; l/m). Pressure loss shall be ____________PSI (bars; kPa) maximum at_______GPM (m3/hr; l/m).

The valve shall be available in either a globe or angle configuration. All valve models will have Female National Pipe Thread (FNPT) inlets and outlets. When specified, the valve shall be configured with British Standard Pipe threads. An optional Male National Pipe Thread (MNPT) inlet and outlet model and a MNPT inlet by Poly Barb outlet model shall be available. Both the globe and angle valve models shall be available with an optional, non-rising stem-type, flow control mechanism. This mechanism will be operable with a slotted screwdriver or with a removable flow control handle. When specified for use with reclaimed water, a reclaimed water identifier handle shall be available.

The body and bonnet shall be molded of non-corrodible PVC, rated to 150 PSI (10.3 bars, 1034 kPa). Models with flow control capability shall have bonnets molded out of glass-reinforced nylon.  The diaphragm assembly shall be of molded construction.  The diaphragm shall be equipped with a serrated disc to screen water-borne contaminants, preventing them from reaching the metering area, and bleed ports of the valve. A perforated diaphragm support ring shall fit into the valve body just below the diaphragm to relieve stress on the diaphragm when the valve is closed.

The standard solenoid shall be a 24 VAC unit with a 350 mA inrush current and 190 mA holding current at 60 cycles and a 370 mA inrush current and 210 mA holding current at 50 cycles. When specified, the unit shall be equipped with a DC latching solenoid for use with 12-volt battery-operated controllers. The solenoid shall be an encapsulated, one-piece unit with captive plunger. It shall be equipped with manual internal bleed capability to release the upper chamber water to the downstream piping, allowing the valve to open.  The valve shall have an external manual bleed screw that provides an additional method of manual operation of the valve.

The valve shall carry a two-year, exchange warranty (not prorated).

The valve shall be manufactured by Hunter Industries Incorporated, San Marcos, California.