HUNTER Pro Adjustable Spray nozzles

ADJUSTABLE ARC NOZZLES

The adjustable arc nozzle shall be capable of covering a _________foot (meter) radius at _________ PSI  (bars; kPa), with a discharge rate of _______GPM (m3/hr; l/m). The angle of trajectory shall be ______degrees. The adjustable arc nozzle shall be adjustable from 25 to 360.

The nozzle shall be constructed of corrosion and UV-resistant plastic and have a stainless steel screw to adjust the flow and radius of throw from the nozzle. It shall be compatible with a plastic screen that protects the nozzle against debris in the water. The nozzle base shall be color coded to differentiate between the radius options.

The nozzle shall carry a two-year, exchange warranty (not prorated).

The nozzle shall be manufactured by Hunter Industries Incorporated, San Marcos, California.