The filter shall be an in-line configuration.  The filter will have a 1-inch Male National Pipe Thread (MNPT) inlet and outlet (HY-100), a 1-inch Male National Pipe Thread (MNPT) inlet and a ¾-inch Male National Pipe Thread (MNPT) outlet (HY-100-075), or a ¾-inch Male National Pipe Thread (MNPT) inlet and outlet (HY-075), depending on the specified model.  The housing shall be molded of non-corrodible PVC, rated to 150 PSI (10.3 bar; 1034 kPa).  The filter shall be equipped with a 150 mesh stainless steel filter, so only clean water can be discharged through the device.  The filter assembly must have removable cap for easy service and cleaning.

The valve, filter and regulator assembly shall be rated for use up to 120 degrees F (49 degrees C).

The valve, filter and regulator assembly shall be manufactured by Hunter Industries Incorporated, San Marcos, California.