The sprinkler shall be of the gear-driven, rotary type, capable of covering a _________ foot (meter) radius at _________ PSI (bars; kPa) with a discharge rate of _________ GPM (m3/hr; l/m). The sprinkler shall be available with eight (8) standard nozzles discharging from 1.2 to 9.8 GPM (0.27 to 2.22 m3/hr; 4.5 to 36.9 l/m), or four (4) low-angle nozzles discharging from 1.6 to 4.7 GPM (0.33 to 1.12 m3/hr; 5.6 to 18.6 l/m). There shall also be three sets of specialty nozzles available: A short distance set discharging from .36 to 3.1 GPM (0.08 to 0.7 m3/hr; 1.3 to 11.7 l/m), a high flow set discharging from 4.2 to 14.8 GPM (0.86 to 3.23 m3/hr; 14.3 to 53.8 l/m), and a matched precipitation rate set .74 to 9.18 GPM (0.17 to 2.09 m3/hr; 3.0 to 34.8 l/m). The sprinkler shall have radius adjustment capabilities by means of a stainless-steel nozzle retainer/radius adjustment screw.

The sprinkler shall be both full-circle and adjustable part-circle operation in a single unit. The sprinkler shall be minutely adjustable from 50° to 360°. It shall be adjustable in all phases of installation (i.e., before installation, after installation while static, and after installation while in operation). The sprinkler shall be equipped with a self-adjusting stator to ensure constant rotation speed regardless of nozzle installed.

The sprinkler shall have a non-strippable drive mechanism that allows the nozzle turret to be turned during operation, without damage. It shall also have an automatic arc return feature that returns the nozzle turret to its proper orientation if it is turned outside its intended arc of coverage.

The sprinkler shall be available as an above ground shrub head (PGP-00), as a 4-inch (10cm) pop-up (PGP-04) and as a 12-inch (30cm) pop-up (PGP-12). The sprinkler shall have a rubber cover firmly attached to the top of the sprinkler riser. When specified, the sprinkler shall have a cover molded of purple Alcryn rubber to indicate the use of reclaimed water. An optional version of the sprinkler shall be equipped with a drain check valve to prevent low head drainage, and be capable of checking up to 10 feet (3.0 m) in elevation change (PGP-00-CV, PGP-04-CV).  When specified, the 4-inch models shall have a pressure regulator assembly permanently mounted in the bottom of the sprinkler body (PGP-04-PRB) to limit the pressure to the nozzle to 45 PSI (310 kPa; 3.1 bar). The 12-inch model shall be standard with the check valve.  The sprinkler shall have an exposed surface diameter after installation of 1-3/4 inches (4 cm).

The shrub sprinkler shall have an overall height of 7-3/4 inches (20 cm). The 4-inch pop-up sprinkler shall have an overall height of 7-3/8 inches (19 cm).  The 12-inch pop-up model shall have an overall height of 17-inches (43cm). If the unit has Pressure Regulated Body the 4-inch pop-up sprinkler (PGP-04-PRB) shall have an overall height of 8-1/8 inches (21 cm). The unit shall have a 3/4-inch Female National Pipe Thread (FNPT) inlet. The sprinkler shall be serviceable after installation in the field by unscrewing the body cap, removing the riser assembly, and extracting the inlet filter screen.

The body and riser of the sprinkler shall be constructed of corrosion resistant, impact resistant, heavy-duty A.B.S. It shall have a stainless steel spring for positive retraction of the riser when irrigation is complete. The sprinkler shall carry a five-year, exchange warranty (not prorated).

The sprinkler shall be manufactured by Hunter Industries Incorporated, San Marcos, California.